## Sheet1
Manufacturer | Imaging Sciences International | Imaging Sciences International | ImageWorks Corp. | ImageWorks Corp. | Carestream Dental | Carestream Dental | Planmeca USA | Planmeca USA | Sirona Dental Systems | Vatech America | Vatech America | Vatech America | Vatech America | Jmorita | Jmorita | Jmorita | Gendex | Prexion | Prexion | Hitachi Medical systems | Soredex
Scanner | Classic iCAT | Next Generation iCAT | NewTom Vgi | NewTom 3G | Kodak 9000 3D & 9000c 3D | Kodak 9500 3D | Promax 3D | Promax 3D Max | GALILEOS Comfort | Master 3Ds | PaX – Reve 3D | PaX – Duo 3D | PaX – Zenith 3D | Veraviewepocs 3D | Veraviewepocs 3De | 3D Accuitomo 170 | Gendex CB-500 & CB-500 HD | PreXion 3D | PreXion 3D Elite with CLEARimage scanning | CB Mercuray | Scanora 3D
Dosage | 69 µSv | 16x13cm 9sec=87 µSv - 16x13cm 5sec= 39µSv - 16x8cm 5sec=26µSv | 100 µSv | 60 µSv | 5 -38 µSv per quad | Large F 93 µSv, Medium F 76 µsv | 8 µSv (Child) - 250 µSv (Adult) | Not Yet Disclosed | 29 µSv - 68 µSv | N/A | 12.16 µSv - 60.64 µSv | 40.52 - 60.95 µSv | N/A | 15µSv (4x4 CM 9.5 sec scan) | 15µSv (4x4 CM 9.5 sec scan) | 13µSv (4x4 CM 9.5 sec scan) | 8x8cm 9sec=53 µSv - 8x8cm 5sec=28 µSv - 14x8cm 9sec=46 µSv | 68.5 µSv - 159.6 µSv | RAPID SCAN= 32µSv - HD & HIGH RES=59µSv ULTRA HD =143µSv | 569 µSv - 1073 µSv
Voxel Size | 0.2mm-0.4mm | 0.125-0.4 mm | 0.15mm-0.3mm | 0.3mm | 0.076mm | 0.2-0.3mm | 0.1mm, 0.2mm, 0.4mm | 0.1mm, 0.2mm, 0.4mm, 0.6mm | 0.3/0.15 mm | 0.164-0.2mm | 0.08-0.25mm | 0.08 mm, 0.2 mm, 0.3 mm | 0.08 mm - 0.3 mm | 0.125 mm | 0.125 mm | 0.8 mm | 0.125 mm- 0.4 mm | 0.2 mm | 0.147 mm, 0.101 mm | 0.1-0.4 mm | 0.13-0.35 mm
Reconstruction Time | < 2 minutes | 30 seconds | 1 Minute | 1 Minute | 10-55 seconds | 10-35 seconds | < 30 seonds - 1.5 min | < 36 secconds - 5.5 min | 2.5 - 4.5 minutes | 9 - 51 seconds | 9-59 seconds | 32-59 Seconds | 10 - 221 Seconds | 30 - 60 Seconds | 30 - 60 Seconds | 65 Seconds 4x4 CM at highest res. | 20 Seconds | N/A | 30 Seconds | 6 Minutes | 1-2 minutes
Focal Spot | 0.5 mm | 0.5 mm | 0.3mm | 0.5mm-1.5mm | 0.5 mm | 0.7mm | 0.5 mm | 0.6 mm | 0.5 mm | 0.5 mm | 0.5 mm | 0.5 mm | 0.5 mm | 0.5 mm | 0.5 mm | 0.5 mm | 0.5mm | 0.2 mm | 0.15 mm | N/A | 0.5 mm
Greyscale | 14 Bit | 14 Bit | 14 Bit | 12 Bit | 15 bit | 16 bit | 15 Bit | 15 Bit | 12 bit | 14 bit | 14 bit | 14 bit | 14 bit | 13 Bit | 13 Bit | 14 Bit | 14 bit | 16 bit | 13 Bits | 12 bit
Footprint | 1.12mx 1.27m x 1.83m (WxDxH) | 48" w x 37" d x 70" h | 1.14m x 1.49m 2.28m (WxDxH) | 1.5m x 1.9m x 2.5m (WxDxH) | 1.15m x 1.75m x 2.3m (WxDxH) | 1.42mX 1.72m (WxD) | 1.13 m X 1.26 m X 1.54 – 2.43 m (WxDxH) | 1.15 m X 1.35 m X 2.48 m (WxDxH) | 1.6m x 1.6m x 2.25 m (WxDxH) | 1.02m x 1.24m x 2.28 m (WxDxH) | 1.8m X 2m X1.85 m (WxDxH) | 1.57m x 2.05m x 2.33 m (WxDxH) | 1.07m x 1.57m x 2.34 m (WxDxH) | 1.02m x 1.33m x 2.35m (WxDxH) without Ceph | 1.02m x 1.33m x 2.35m (WxDxH) without Ceph | 1.6m x 1.25m x 2.8m (WxDxH) | 48" w x 37" d x 70" h | 1.17 m x 1.57 m x 1.92 m (WxDxH) | 1.17 m x 1.57 m (WxD) | 2 m X 1.9 m X 2.25 m (WxDxH) | 1.6m x 1.4 m x 1.97 m (WxDxH)
Image Detector | Amorphous silicon flat panel 20 x 25 cm | Amorphous silicon flat panel 20 x 25 cm | Amorphous silicon flat panel 20 x 25 cm | i.i. + CCD camera 1004x1004 pixel | CMOS sensor with optical fibre | Amorphous Silicon Flat Panel | Flat Panel Sensor | Flat Panel Sensor | Proprietary Siemens Technology | Amorphous Flat Panel Detector | Amorphous Flat Panel Detector | Amorphous Flat Panel Sensor | Amorphous Flat Panel Sensor | CMOS Flat Panel Detector | CMOS Flat Panel Detector | CMOS Flat Panel Detector | Amorphous Silicon Flat Panel 13 x 13 cm | Csl Flat Panel Dtector | FPD | CCD Camera | CMOS Flat Panel
Patient Positioning | Seated | Seated | Seated / Standing / Wheelchair | Reclining | Seated / Standing / Wheelchair | Seated / Standing / Wheelchair | Seated / Standing / Wheelchair | Seated / Standing / Wheelchair | standing / seated | Standing / Wheelchair | Seated / Wheelchair | Standing / Wheelchair | Standing / Wheelchair | Standing | Standing | Seated | Seated | Seated | Seated | Seated | Seated
Scan Time | 20 seconds | 5, 8.9, 14.7 or 26.9 seconds | 18 Seconds | 36 Seconds | 13.2-13.9 Seconds | 10.8 Seconds | 18 Seconds (exposure time 2.8 seconds) | 35 seconds (exposure 8.6 seconds) | 14 Seconds - (exposure 2 - 6 seconds) | 15sec/24sec | 15 Seconds - 24 Seconds | 15 Seconds - 24 Seconds | 15 Seconds - 24 Seconds | 9.4 Seconds (3D Image) | 9.4 Seconds (3D Image) | 17.5 Sec 360° scan - 9 Sec 180°scan | 5, 8.9, 14.7 or 26.9 seconds | 19 Seconds Standard, 37 Seconds HD | RAPID =8.6 sec, HD = 16.8 sec ULTRA HD= 33.5 sec | 10 seconds | 10-20 sec
Field of View | 16 cm (D) x 13-22 cm (H) | Standard: 2, 4, 6, 8, 10, 13 cm h x 16 d Extended: 17 x 23 cm | 12-15 cm (D) x 7.5-15 cm (H) | 20,15,10 cm (D) x 20 cm (H) | 5 x 3.8 cm Single 9 x 7 x 3.75 cm Stitched | Medium F 15 x 9 cm Large F 20 x 18 cm | Single: 8x8 cm Stitched: 14.4 x 10.5 x 8 cm | Standard: 23 x 16 cm Full Skull: 23 x 26 cm | 15 cm x 15 cm x 15 cm | 20 X 15 cm, 20 X 19 cm, 16 X 10 cm, 16 X 7 cm | Fully customizable FOV 5x5 to 12x8.5 cm | 5x5, 8x5, 8.5x8.5, 12x8.5 cm | 5 x 5cm - 21 x 19cm | Ø 4 x 4H cm - Ø 4 x 8H cm - Ø 8x 8H cm | Ø 4x4H cm - Ø 4 x 8H cm | Ø 4x4H cm up to Ø 17x12H cm | Standard: 2, 4, 6, 8 cm h x 8 cm d Extended: 8 h x 14 cm d | 8.1 x 7.5 cm (max) | 8.1 x 7.5 cm - 5.6 x 5.2 cm | 25 x 15 cm, 25 x 30 cm | 6 x 6 cm - 7.5 x 14.5 cm
File Size | 50 MB | 50 MB | 320 MB - 1.18 GB | N/A | 5MB - 170MB | 28 - 200 MB | 30 - 250 MB | 40 - 300 MB | 250 - 450 MB | N/A | N/A | N/A | N/A | 12-94 MB on slice image | 12-94 MB on slice image | 12-94 MB on slice image | 20 MB | N/A | 257 MB | N/A
Power Requirements | 120-240 V Ac, 60-50 Hz | 100, 115, 200, 230 V AC, 50-60 Hz | 10A @ 100/115V~, 5A @ 240V~, 50/60Hz | 200 / 230 v~ 50/60 Hz (± 1%) 4A max | 230/240 V - 60 Hz | 220/230/240 - 50/60 Hz | 110-240 V AC, 60 Hz | 110-240 V AC, 60 Hz | 110/220 V AC, 50 – 60 Hz | N/A | N/A | N/A | N/A | AC 120V 60 Hz, 220/230/240 V 50/60 Hz | AC 120V 60 Hz, 220/230/240 V 50/60 Hz | AC 100/110/120 VAC, 220/230/240 VAC | 100, 115, 200, 230 V AC, 50-60 Hz | N/A | 120 V, Single Phase, 1.5KVA | N/A | 230-240 VAC (±10 %), 50/60 Hz
Weight | 426 lbs | 510 lbs | Scanner: 600 lb, Control box: 220 lbs | 838 lbs gantry only, 1058 lbs with table | 353 lbs(9000 3D), 439 lbs (9000c 3D) | 386 lbs | 249 lbs | 295 lbs | 380 lbs | N/A | 1087 lbs | 670 lbs | N/A | 418 lbs (without Ceph) | 418 lbs (without Ceph) | 882 lbs | 510 lbs | N/A | 800 lbs | N/A | 690 lbs
Bundled Software | Xoran Cat, iCATvision and 3DVR | iCATvision, InVivo Dental and 3DVR | NNT™ with free viewer & sharing app | NNT™ with free viewer & sharing app | Kodak Imaging Software | Kodak Imaging Software | Romexis | Romexis | Galaxis / Sidexis / GALELIOS Implant | Easy Dent/EZ3D | EasyDent/Ez3D | EasyDent/Ez3D | EasyDent/Ez3D | i-Dixel 2.0/One Data Viewer/One Volume Viewer | i-Dixel 2.0/One Data Viewer/One Volume Viewer | i-Dixel 2.0/One Data Viewer/One Volume Viewer | iCATvision, InVivo Dental and 3DVR | Tera recon Xtrillion/Prexion 3D Viewer | PreXion3D Viewer; PrexViewer Interactive CD Viewer; Implant Planning Software; Endo Tracing Software | CB Works | OnDemand 3D, ART
X-Ray Source | 120 kVp 3-7 mA (pulsed) | 120 kVp 3-7 mA (pulsed) | High frequency, constant potential (DC) Rotating anode: 110 kV; 1-20 mA (Pulsed mode) | High frequency, constant potential (DC) Stationary anode: 110 kV; 1- 15 mA (Pulsed mode) | 60-90 kV (max) | 60-90 kV | 50 – 84 KvP, 1 – 16 mA | 50 – 96 KvP, 1 – 12 mA | 85 kv, 5 – 7 mA | Generator Voltage: 40-90kVp, Generator Current: 2-10mA 3 in 1 Pan + Ceph + CT | 50~120kVp/4~10mA | Generator Voltage:40-90kVp 2 in 1 Pan + CT | Generator Voltage: 60-90kVp | 60-80 kV, 1-10 mA | 60-80 kV, 1-10 mA | 60-90 kV, 1-10 mA MAX 8mA | 120 kVp 3-7 mA (pulsed) | 90 kV / 4 mA (fixed, continuous) | 90 kV, 4mA | 60/80/100/120 kV, 10/15 mA | 60-85 kV, 1.0-8.0 mA
Special Features | * Adjustable beam collimation. * Report printout function. | *Imaging Flexibility from 2cm to 13cm in height *Extended Field of View captures 17 cm x 23 cm *i-PAN™ provides traditional, 2-D Digital Panoramic Imaging *Featuring Quantum IQ Image Enhancement Tool *Quick launch to Invivo, Dolphin and 3DVR softwares *3-D Imaging Institute Continuing Education Program | * Safe Beam™ technology, the radiation level is set through the evaluation of the patient's anatomical density. * Unique "pulse" system that activates the x-ray source only when needed. | * Safe Beam™ technology, the radiation level is set through the evaluation of the patient's anatomical density. * unique "pulse" system that activates the x-ray source only when needed. | * System utilizes three sensors, one for panoramic images, one for cephalometric image and one for CBCT image. * Focused field of view limits radiation to a specific region of interest. | * Large FOV captures dual jaw images or visualizes all dento-maxillofacial anatomy in one acquistion. * Medium FOV ideal for dental exams, implant placements & TMJ analysis. | * Improved artifact removal (IAR) * High constrast object compensation. * Compatible with Mac OS computers. | * Improved artifact removal (IAR) * High constrast object compensation. * Large FOV for full maxillofacial scans. * Automatically adjusts volume sizes for children. | * System-wide efficiency with one integrated software package. * 3D implant planning with GALELIOS implant software. * GALELIOS (SICAT) Surgical Guides. | * Wide FOV selection allows limiting radiation dosage to contained regions of interest. * Wide selection of voxel sizes. | * Camera & voice system allows for communication between patients & staff. * Metal artifact removal technology. * Free FOV function produces images based on particular treatment planning needs. | * Auto switching system between CBCT & panoramic x-ray sensors. * 4 Multi FOV sizes. * Metal artifact removal technology. | * Camera & voice system allows for communication between patients & staff. * Metal artifact removal technology. * Free FOV function produces images based on particular treatment needs. | * Multi function 3D/Pan/Ceph unit * Low dose with high clairty * Resolution greater than 2 line pairs per mm * 3 patient positioning options * Recenlty enhanced i-Dexel 2.0 software * TDO software integration | * Multi function 3D/Pan/Ceph unit * Low dose with high clairty * Resolution greater than 2 line pairs per mm * 3 patient positioning options * Recenlty enhanced i-Dexel 2.0 software * TDO software integration | * Morita's highest clairty unit * Low dosage * 9 different FOV options * Resolution greater than 2 line pairs per mm * Zoom reconstruction: high res 80 micrometer image of a small area of interest from original scan | * Automatic nerve marking estimation. * Traditional digital panoramic images. * On-site training conducted by a certified Gendex 3D trainer. | * Both the scanner control and 3D viewer software are loaded on the console PC. | * CLEARimage Scanning Technology * Patient Positioning Camera * THIN CLIENT Server/workstation solution *On-going training & support through the Academy of Imaging Technology (AIT) *GREEN server with 50% reduction in energy consumption3D Clinical Movie Maker | N/A | * Real digital panoramic and CBCT systems combined. * Unique AutoSwitch™ feature changes between panoramic and 3D modes.
Picked Highlights | *Versatile FOV / Voxel, S *Classic model replaced by Next Generation i-CAT (see Next Generation i-CAT for more details) | *Impressive imaging flexibility: 3-D scans plus traditional 2-D pan (non-CBCT pan). *Fast workflow enables consultation and treatment planning within 1 minute. *Patented image enhacement tools. | CBCT System Approved For Mobile Use. | N / A | *Small Focused FOV, Practice Management System Integration & Competitive Price. *Software provided with unlimited license & networkable throughout office. *Implant Planning Module Provided Free. | *Management System Integration & Competitive Price. *Software provided with unlimited license & networkable throughout office. *Implant Planning Module Provided Free. | N/ A | N/ A | CEREC Integration, Surgical Guides | Versatile System, Suited For Imaging Practices | * Camera & voice system allows for communication between patients & staff. * Autofocus technology optimizes image automatically | * Suited For Implant& Oral Surgery * Separate Panoramic Sensor. | N/A | *Small FOV options * Low dose and high clairty *TDO software integration * Excellent unit for endo, perio and general dentistry | *Small FOV options * Low dose and high clairty *TDO software integration * No cassette change * Excellent unit for endo, perio and general dentistry | * Exceptional clairty with low dose * Recenlty enhanced i-Dexel 2.0 software * TDO software integration * Great for implantology and other specialties, imaging labs, universities, research institutions, etc. | *Flexibility: many options for imaging patients and controlling dose *2D and 3D in one machine: patented i-Pan providing traditional non-CBCT 2-D panoramic scan *Fast workflow: less than 2 minutes from scan to implant placement. | N/A | * Powerful, easy to use software with 14 years of R&D. * High quality images. * Small focal spot for high quality images. | N/A | N/A
CBCT Comparison Chart
Last Updated 1/1/2011
DISCLAIMER
The information contained in this list is provided for educational purposes and was compiled
from manufacturer advertised specs and studies conducted by parties not affiliated to ConeBeam.com